PulmOne Installation Report To be filled by a certified PulmOne Service Specialist PO Number:; Install Date:; Installer:.

I. Product Details

| Product Name: |  |
| --- | --- |

| Device S/N: |  |
| --- | --- |

| Tablet S/N: |  |
| --- | --- |

| HHU S/N: |  |
| --- | --- |

II. Customer Details

| Name: |  |
| --- | --- |

| Address: |  |
| --- | --- |

| City: |  | Phone: |  |
| --- | --- | --- | --- |

| Email: |  |
| --- | --- |

| Customer's Staff | Name + Credentials | Phone / Cell | Email |
| --- | --- | --- | --- |
| Primary contact person |  |  |  |
| Physician |  |  |  |
| Practice Manager |  |  |  |
| Professional #1 |  |  |  |
| Professional #2 |  |  |  |
| Professional #3 |  |  |  |
| Professional #4 |  |  |  |
| Professional #5 |  |  |  |

III. Received Items

| No. | Item | Y / N | Comments |
| --- | --- | --- | --- |
| 1 | MiniBox shipping box is sealed | ☐ Y ☐ N |  |
| 2 | Shipping contents intact: | ☐ Y ☐ N |  |
|  | MiniBox device | ☐ Y ☐ N |  |
|  | Handheld unit (Spirometer) | ☐ Y ☐ N |  |
|  | Tablet | ☐ Y ☐ N |  |
|  | Calibration filter | ☐ Y ☐ N |  |
|  | Documentation USB | ☐ Y ☐ N |  |
|  | Power and comm. cables | ☐ Y ☐ N |  |
|  | Mobile cart | ☐ Y ☐ N |  |
|  | Syringe | ☐ Y ☐ N |  |
|  | DLCO regulator | ☐ Y ☐ N |  |
|  | Filter pack – Qty: ______ | ☐ Y ☐ N |  |
| 3 | Items supplied by customer | ☐ Y ☐ N |  |

IV. Acceptance Tests

To be demonstrated and performed by PulmOne's Service Specialist

| No. | Item | Y / N | Comments |
| --- | --- | --- | --- |
| 1 | MiniBox system is fully assembled and power is ON | ☐ Y ☐ N |  |
|  | Touch screen turns ON and is responsive to touch | ☐ Y ☐ N |  |
| 2 | DLCO regulators and tank are connected to the MiniBox | ☐ Y ☐ N |  |
|  | Regulator type: ________________________ | ☐ Y ☐ N |  |
|  | Pressure on gauges is: ______________ | ☐ Y ☐ N |  |
|  | Pressure targets are marked | ☐ Y ☐ N |  |
| 3 | Cart is fully assembled | ☐ Y ☐ N |  |
| 4 | Supplied accessories assembled | ☐ Y ☐ N |  |
| 5 | Successful FVC calibration check (Error ____ %) | ☐ Y ☐ N |  |
| 6 | Successful DLCO calibration check | ☐ Y ☐ N |  |
| 7 | Successful FVC (performed by Service Specialist) | ☐ Y ☐ N |  |
| 8 | Successful SVC (performed by Service Specialist) | ☐ Y ☐ N |  |
| 9 | Successful LVM (performed by Service Specialist) | ☐ Y ☐ N |  |
| 10 | Successful DLCO (performed by Service Specialist) | ☐ Y ☐ N |  |
| 11 | Reports printed to a local printer | ☐ Y ☐ N |  |
| 12 | Printer brand & model: __________________ | ☐ Y ☐ N |  |
| 13 | All reports were saved to a USB flash drive | ☐ Y ☐ N |  |
| 14 | Additional setup information | ☐ Y ☐ N |  |
| 15 | Network drive connected successfully | ☐ Y ☐ N |  |
| 16 | Remote connection via TeamViewer was successful | ☐ Y ☐ N |  |

V. Training

To be performed and confirmed by customer's staff

| No. | Item | Y / N | Comments |
| --- | --- | --- | --- |
| 1 | Training conducted by PulmOne representative | ☐ Y ☐ N |  |
| 2 | Setup and configuration | ☐ Y ☐ N |  |
| 3 | Clinical settings | ☐ Y ☐ N |  |
| 4 | System settings | ☐ Y ☐ N |  |
| 5 | Calibration checks | ☐ Y ☐ N |  |
| 6 | Patient maneuvers demonstrated by PulmOne | ☐ Y ☐ N |  |
| 7 | Tests performed by staff on their patients: | ☐ Y ☐ N |  |
|  | FVC | ☐ Y ☐ N |  |
|  | SVC | ☐ Y ☐ N |  |
|  | MVV | ☐ Y ☐ N |  |
|  | LVM | ☐ Y ☐ N |  |
|  | DLCO | ☐ Y ☐ N |  |
|  | Provocation | ☐ Y ☐ N |  |
| 8 | Staff comfortable with all functions; enough training time given | ☐ Y ☐ N |  |

VI. Post-Installation Activities

| No. | Item | Y / N | Comments |
| --- | --- | --- | --- |
| 1 | Review service contact details | ☐ Y ☐ N |  |
|  | PulmOne website: www.pulm-one.com | ☐ Y ☐ N |  |
|  | PulmOne toll-free service line: 1-844-PulmOne | ☐ Y ☐ N |  |
| 2 | Create customer portal account for filter ordering (lead time 1–2 wks) | ☐ Y ☐ N |  |
| 3 | Review database backup option (customer's responsibility) | ☐ Y ☐ N |  |
| 4 | MiniBox Academy log-in | ☐ Y ☐ N |  |

| Customer Signature: |  | Date: |  |
| --- | --- | --- | --- |

VII. Staff Checkup and Acceptance

Enter each staff member's name; mark Y or N for each item completed.

| Item \ Staff member |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Volume calibration check |  |  |  |  |  |  |  |
| DLCO calibration check |  |  |  |  |  |  |  |
| FVC test |  |  |  |  |  |  |  |
| SVC test |  |  |  |  |  |  |  |
| MVV test |  |  |  |  |  |  |  |
| LVM test |  |  |  |  |  |  |  |
| DLCO test |  |  |  |  |  |  |  |
| Provocation test |  |  |  |  |  |  |  |
| Customer portal login access |  |  |  |  |  |  |  |
| Filter ordering procedure |  |  |  |  |  |  |  |
| MiniBox Academy signup |  |  |  |  |  |  |  |
| Contacting Customer Service |  |  |  |  |  |  |  |
| Setting up Settings |  |  |  |  |  |  |  |
| Reports printing |  |  |  |  |  |  |  |
| DLCO tanks replacement |  |  |  |  |  |  |  |
| Signatures (initials) |  |  |  |  |  |  |  |

VIII. Comments / Outstanding Issues

| PulmOne Service Specialist – Signature: |  | Date: |  |
| --- | --- | --- | --- |

IX. Main Customer Person at Installation

| Payment arrangements: |  |
| --- | --- |

| P.O.: |  |
| --- | --- |

I confirm that I have been trained on the MiniBox(+). I understand and am comfortable performing the following functions: general settings, clinical settings, report configuration, report printing / saving, calibration check, patient data entry, session start, and all patient test maneuvers; filter credits and updating sessions when a new box of filters is ordered. I understand that the MiniBox+ has been validated to not require internal sanitization ONLY when the PulmOne viral-bacterial filter is used in conjunction with the MiniBox+. I also understand that the clinical accuracy of the MiniBox+ requires that a PulmOne viral-bacterial filter is used in conjunction with the MiniBox+. Use of the MiniBox+ without a PulmOne viral-bacterial filter may void your warranty. I was also guided on how to access the customer portal and order mouthpieces and other supplies.

| Customer Signature: |  | Date: |  |
| --- | --- | --- | --- |

| Print Name: |  |
| --- | --- |